## Slide 1
Solar Power Plant Design

## Slide 2: Solar Spectrum

## Slide 3: Solar Spectrum
Radiation
Irradiance
Irradiation/ Insolation

## Slide 4: Solar Spectrum

## Slide 5: Solar Constant

## Slide 6: Components of Solar Radiation
1. DNI
2. DHI
• Direct Normal irradiance (DNI)
• Diffuse Horizontal Irradiance (DAI)
• Global Horizontal Irradiance (GHI)
Global Horizontal (GHI) Direct Normal (DNI) X cos() + Diffuse Horizontal (DHL)
- = Solar Zenith angle
- GHI is measured by pyranometer.

## Slide 7: Defining Sun position
1. AZIMUTH
2. ALTITUDE
3. ZENITH

## Slide 8: Total sunny hours
Time Irradiance (w/)
9.OOAM 400
IO.OOAM 600
11.OOAM 700
12.OOAM 800
I.OOPM 950
2.00PM 800
3.00PM 800
4.00PM 500
Total = 5550
i.e. 5.55KWH/
Total sunny hours 5.55
That radiation have to continue at a rate of I KW/ for 5.55 hours-

## Slide 9: True North and magnetic north

## Slide 10: Geographical Co-Ordinates

## Slide 11: Variation of sun position

## Slide 12: Air Mass
The relative distance that the radiation must travel through in the atmosphere to reach a given
Location is air mass
AM = 1/ cos
Where = Solar zenith angle (Angle between sun & the line a point directly overhead)

## Slide 13: Thank You