## Slide 1
Introduction
SOLAR POWER PLANT DESIGN

## Slide 2: Grid Connected solar power plant

## Slide 3: Grid interactive solar power plant

## Slide 4: Off – grid solar power plant

## Slide 5: Hybrid solar power plant

## Slide 6: Net & gross metering system

## Slide 7: Ground mounted solar plant

## Slide 8: Rooftop solar plant

## Slide 9: Floating Solar plant

## Slide 10: Fixed tilt / seasona tilt & tracker system

## Slide 11: State Policy-RAJASTHAN
Connectivity of rooftop pv power solar plant
Eligible consumer & individual Project capacity
Interconnection with grid (safety & standards)

## Slide 12: Connectivity level based on Project capacity
SI. NO | Connected load of eligible consumer | Connectivity level
1 | Up to 5 KW | 240V Single phase
2 | Above 5 KW & up to 18.65 KW | 415V —Three phase
3 | Above 18.65 KW up to 50 KW/KVA | 415V-Three phase
4 | Above 50 KW,KVA | HT,EHT level

## Slide 13: Project Financing-Model
Capex
Opex
PPA

## Slide 14: Project Financing-Model
Capex
Opex
PPA
Capital Expenditure

## Slide 15: Project Financing-Model
Capex
Opex
PPA
Operational Expenditure

## Slide 16: Project Financing-Model
Capex
Opex
PPA
Power Purchase Aggrement

## Slide 17: Thank you