## Slide 1: Solar Power Plant Design

## Slide 2
Solar Power Plant Design

## Slide 4
Name of the site: |  |  | Date
Site address: |  |  | 
SI.No | Point description | Observations | Remarks
1 | Site Co-ordinates (Latitude & Longitude) |  | 
2 | Total Area available |  | 
3 | Situation of the Land |  | 
4 | Ground Water depth (to be verified from the locals) and of available water |  | 
5 | Any River/Pond/Natural drain running through the land |  | 
6 | If any River/Pond/Natural drain is running then possibility of diverting is there? (Give brief description) |  | 
7 | Type of soil |  | 

## Slide 5
SI.No | Point description | Observations | Remarks
8 | Nature of soil |  | 
9 | Type of Approach road and approx. length |  | 
10 | Width of a roach road. |  | 
11 | Tentative undulation (highest& lowest point approx.) |  | 
12 | Water logging occurs after rain or not? |  | 
13 | Surrounding boundary of the site |  | 

## Slide 6
SI.No | Point description | Observations | Remarks
1 | Any Big Tree/high voltage grid line going through the site? (Describe location, height of obstruction etc. |  | 
2 | Any hill is there inside the land area? If yes then give description like approx. height and location i.e. in North/South/East/West |  | 
3 | Any hill/other-obstruction is there outside the plant boundary situated other than North side & capable of posing shadow in the land under discussion? Please give the Approx height and distance of such obstructions (hill/tower/tree etc) from the plant boundary |  | 
2. Shadow related issues

## Slide 7
SI.No | Point description | Observations | Remarks
1 | Name and address of the Utility Company? Who is the contact person of the concerned Utility Company regarding inter-connectivity? |  | 
2 | How far the utility grid line from the site and what is the kV rating of that line? Is it possible to inject power in this line? |  | 
3 | How many Grid substations are there with in a dia of 15-20 km? (Both existing and proposed) Give details of each substation as per the attached separate format. |  | 
4 | Whether the nearby substation has the excess capacity to take the power. If yes how much in MW |  | 
5 | Any other solar plant is there nearby the proposed site? If yes give Company name, plant size. |  | 
3. Power Evacuation related issues

## Slide 8
4.1 | Local / legal issue at site | 
4.2 | Nearest City | 
4.3 | Local Transport available Transporter details | 
4.4 | Local warehouse availability | 
4.5 | Nearest bus stop | 
4.6 | Nearest Rail station | 
4.7 | Night accommodation available at | 
4.8 | Any unusual installation / event noticed | 
4.9 | Customer's name & contact detail | 
4.10 | Remarks / Note | 
Other Information:

## Slide 9: Thank you