## Slide 1
Solar Power Plant design

## Slide 2: Relay Co-ordination (part-1)

## Slide 3: Importance of relay Co - Ordination
3
2
1
Distance
Operating Time

## Slide 4: Relay Co-Ordination

## Slide 5: DMT Grading – (50)
3
2
1
Distance
Operating Time
RELAY SETTING
50-1 Pickup : 180%
50-1 Delay : 1 Sec
50-2 Pickup : 400%
50-2 Delay : 0.1 Sec

## Slide 7
1. Pickup & Current Setting
Current Setting=Pickup current/CT ratio
= 600/500
= 1.2
2.Plug setting Multiplier
PSM = Fault Current / pickup Current
=1000/600
=1.67
3.TMS & Relay Operation Time

## Slide 8
What would be the
operating time if we
select a curve other than
SI?
For example : Extremely
Inverse or very inverse

## Slide 9: Thank you